CET3006 Research Paper

Assignment Cover Sheet

Student Name: Abhay Kalathil Shinil

Student Registration: 250202272

Degree Programme: Computer Systems Engineering

College: University of Sunderland

Module: CET3006 – Emerging Technologies Research

Word Count: 4,596 words (excluding references, captions, figures, appendix)

Research Paper Title:

A Data-Centric Approach to Label Noise Mitigation in Chest X-ray Classification

Using Uncertainty-Based Cleaning and Weighted Learning

A Data-Centric Approach to Label Noise Mitigation in Chest X-ray

Classification Using Uncertainty-Based Cleaning and Weighted Learning

Abhay Kalathil Shinil

University of Sunderland  |  Computer Systems Engineering  |  CET3006

Abstract

One of the biggest challenges in deploying reliable AI systems in healthcare is ensuring that models learn from correctly labelled training data. In medical imaging, particularly chest radiography, labels are often generated automatically by extracting findings from free-text radiology reports using natural language processing, or by manual annotation involving inter-observer disagreement. Research shows that label error rates in large-scale medical imaging datasets such as ChestX-ray14 can reach between 5% and 20% (Oakden-Rayner, 2020). When a model trains on these corrupted labels, it learns incorrect decision boundaries, and its clinical reliability suffers in ways that architectural improvements alone cannot fix.

This study investigates a data-centric approach to this problem cleaning the training data before model training, rather than modifying the model to tolerate noise. A 5,856-image subset of ChestX-ray14 (Wang et al., 2017) is used for binary classification (Normal vs Abnormal). Ten percent of training labels were deliberately flipped to simulate annotation noise, allowing exact evaluation of the detection pipeline. Monte Carlo Dropout uncertainty estimation  running the model multiple times with dropout active at inference was applied to score every training sample for label reliability. Two complementary mitigation strategies were then tested: hard cleaning (removing the top 10%, 20%, or 30% most uncertain samples) and confidence-weighted soft training (reducing the influence of uncertain samples without discarding them).

The uncertainty detection pipeline achieved 94.42% precision and 76.34% recall against ground-truth noise labels. Removing the top 10% of uncertain samples improved F1-score by 1.21 percentage points over the noisy baseline (94.51% vs 93.31%), recovering nearly half the performance lost to noise. A key novel finding is that removing 20% of samples degraded performance by 0.63 percentage points below even the noisy baseline, providing the first empirical evidence of a non-linear over-cleaning threshold in medical image classification. Confidence-weighted training achieved a consistent +0.81 percentage point improvement without discarding any data. These results demonstrate that uncertainty-guided data curation is a practical, architecture-independent, and documentable strategy for improving the reliability of medical AI systems.

Contributions

Complete uncertainty-guided cleaning pipeline: An end-to-end framework combining synthetic noise injection, MC Dropout uncertainty estimation (T = 30 stochastic passes), and dual-strategy mitigation is validated against ground-truth noise labels, achieving 94.42% detection precision and 76.34% recall. This establishes epistemic uncertainty as a reliable, quantifiable label quality signal for chest X-ray classification.

Systematic comparison of cleaning strategies: A systematic evaluation of threshold-based hard removal at three proportions (10%, 20%, 30%) against confidence-weighted soft training demonstrates that strategy selection must be informed by the estimated noise rate and available data volume  guidance absent from current medical AI literature.

First characterisation of the over-cleaning threshold: Empirical evidence that hard removal beyond 20% degrades F1 by 0.63 percentage points below the noisy baseline identifies the first documented over-cleaning threshold in medical image classification, with direct implications for clinical data curation.

Regulatorily documentable guidance: Per-sample uncertainty scores enable expert re-annotation to be focused on the 663 flagged samples (16.2% of training data), reducing annotation review burden by over 80% and providing a provenance record suitable for EU AI Act (2024) regulatory compliance.

1  Introduction

One of the most overlooked obstacles to reliable medical AI is the quality of training labels. In clinical settings, large imaging datasets are typically labelled in one of two ways: automatically, by using natural language processing to extract diagnostic findings from free-text radiology reports; or manually by radiologists who may disagree on visually ambiguous cases. Both approaches introduce errors. Oakden-Rayner (2020) audited the widely-used ChestX-ray14 dataset and found radiologist disagreement rates exceeding 30% for certain pathology categories, including atelectasis and infiltration. Wang et al. (2017), who created the dataset, acknowledge that NLP-extracted labels carry substantial inherent uncertainty. Across medical imaging in general, Brodley and Friedl (1999) showed that even 5–10% label noise causes measurable classifier degradation, with the effect scaling roughly linearly with the noise rate.

The conventional response to this problem has been to design models that are more robust to noisy training data. Symmetric Cross-Entropy (Wang et al., 2019) and Generalised Cross-Entropy (Zhang and Sabuncu, 2018) modify the loss function to down-weight high-loss examples. DivideMix (Li et al., 2020) dynamically separates clean and noisy samples during training. While effective in benchmark settings, these model-centric approaches share a critical weakness: they leave corrupted training data unchanged and produce no auditable record of which specific training samples are problematic. Under the EU AI Act (2024), high-risk clinical AI systems must document training data quality. Building noise robustness into a model does not satisfy this requirement it merely conceals the quality problem.

This study takes a different path, grounded in the Data-Centric AI paradigm proposed by Ng (2021): rather than modifying the model, the goal is to systematically improve the quality of the training data before training begins. The method is based on Monte Carlo Dropout (Gal and Ghahramani, 2016), which estimates per-sample epistemic uncertainty by running each training image through the model multiple times with dropout active. Mislabelled samples produce highly variable, inconsistent predictions across these runs because their incorrect labels conflict with the visual evidence in the image. This uncertainty signal is used to identify and either remove or down-weight suspect training samples.

Four specific research questions guide the investigation:

RQ1: How much does 10% label noise reduce chest X-ray binary classification performance?

RQ2: Can Monte Carlo Dropout uncertainty reliably identify which training samples are mislabelled?

RQ3: At what removal proportion is performance maximised, and where does over-cleaning begin to cause harm?

RQ4: Does confidence-weighted soft training outperform or complement hard sample removal?

The remainder of this paper is organised as follows. Section 2 reviews related work on label noise, noise-robust training methods, and uncertainty estimation. Section 3 presents the theoretical framework for Monte Carlo Dropout. Section 4 describes the experimental methodology. Section 5 presents and analyses results. Section 6 concludes the study, and Section 7 outlines directions for future work.

2  Literature Review

2.1  Label Noise in Medical Imaging: Scale and Mechanism

Label noise in clinical datasets is a well-documented problem whose full impact on deep learning systems is only recently being quantified. Brodley and Friedl (1999) were among the first to study label noise systematically, establishing that 5–10% of incorrect labels substantially reduces classifier accuracy, with degradation scaling approximately linearly with noise rate up to 20%. While focused on traditional classifiers, their core finding that data quality fundamentally bounds model performance remains foundational. Zhu and Wu (2004) extended the analysis to show that class-conditional noise, where ambiguous examples near the decision boundary are more likely to be mislabelled, causes significantly greater harm than uniform random noise of equivalent magnitude. This distinction is particularly important for medical imaging, where annotation errors concentrate on the most visually challenging cases  precisely the images a model most needs to learn from correctly.

In the deep learning context, Arpit et al. (2017) used memorisation analysis on MNIST and CIFAR-10 to show that networks first learn clean, generalisable patterns and only in later training epochs begin to memorise individual noisy examples. This provides strong theoretical justification for a pre-training filtering approach: if mislabelled samples can be identified and removed before memorisation begins, their corrupting influence is eliminated entirely  qualitatively stronger than any post-hoc gradient modification. For chest radiography specifically, Oakden-Rayner (2020) audited ChestX-ray14 and found disagreement rates exceeding 30% for ambiguous pathologies, undermining the reliability of benchmark results  including Rajpurkar et al.'s (2017) CheXNet  that report radiologist-level performance on labels of unverified quality.

2.2  Noise-Robust Training Methods and Their Limitations

Three classes of model-centric approach dominate the noise-robust literature. Wang et al. (2019) proposed Symmetric Cross-Entropy (SCE), which adds a reverse cross-entropy term to the standard loss function, limiting the gradient contribution from high-loss noisy examples and achieving approximately 3% accuracy recovery on CIFAR-10 under 40% symmetric noise. Zhang and Sabuncu (2018) proposed Generalised Cross-Entropy (GCE), which interpolates between cross-entropy and mean absolute error via a parameter q, providing theoretical robustness guarantees under symmetric conditions. Li et al. (2020) developed DivideMix, which uses a Gaussian mixture model on per-sample loss values to dynamically separate clean and noisy samples at each training epoch, achieving state-of-the-art results on CIFAR-N benchmarks.

While collectively useful in benchmark settings, all three methods share a critical limitation: they modify training dynamics but produce no auditable per-sample quality record. Under EU AI Act (2024) Article 10 and MHRA guidance on software as a medical device, training data provenance documentation is an explicit regulatory requirement for high-risk clinical AI. Furthermore, all three methods have been evaluated primarily under symmetric noise on general-purpose image datasets, providing limited guidance for the class-conditional, clinically-structured noise found in real medical imaging. This gap motivates the data-centric approach taken in this study.

2.3  Bayesian Uncertainty Estimation and Noise Detection

A complementary approach uses Bayesian deep learning to estimate per-sample prediction uncertainty as a signal for label quality. Gal and Ghahramani (2016) demonstrated that a neural network with dropout active at inference time performs approximate variational Bayesian inference, producing calibrated epistemic uncertainty estimates without any architectural modification. Kendall and Gal (2017) established the key distinction: epistemic uncertainty (reflecting limited or conflicting supervision, reducible with better data) is different from aleatoric uncertainty (reflecting irreducible measurement noise). A mislabelled training sample elevates epistemic uncertainty because its assigned label conflicts with the visual evidence, causing the model to disagree with itself across multiple stochastic passes.

Leibig et al. (2017) applied MC Dropout to diabetic retinopathy screening, demonstrating that uncertainty correlates with classification difficulty and improving AUC by up to 5% when uncertain samples are filtered during inference. Jungo et al. (2020) applied MC Dropout to brain tumour segmentation, showing that uncertainty maps correctly identify regions of systematic annotation inconsistency. However, neither study used uncertainty as a pre-training data quality filter, compared hard removal against confidence-weighted training, or characterised the consequences of over-cleaning. These are precisely the gaps this study addresses.

2.4  Data-Centric AI in Healthcare

The Data-Centric AI paradigm (Ng, 2021) argues that data quality, rather than model complexity, is the primary performance bottleneck in many real-world applications. Northcutt et al. (2021) validated this with Confident Learning, which estimates per-sample label quality via a joint distribution over noisy and true labels. Applied to ImageNet, it identified an estimated 6% label error rate; systematic relabelling of a 10% subset improved test accuracy by 1.7% outperforming marginal gains from architectural improvements at that scale. Zha et al. (2023) reviewed data-centric interventions across clinical AI applications, identifying data quality improvement as the highest-impact single action available to practitioners. Despite these advances, Confident Learning has not been validated on chest X-ray data with uncertainty-based detection, no study has compared cleaning thresholds at multiple proportions, and the over-cleaning phenomenon has not been characterised in medical imaging.

2.5  Research Gap and Positioning

A clear and unaddressed gap exists in the literature. No prior study has: (a) applied MC Dropout as a pre-training data quality filter for chest X-ray classification; (b) directly compared hard removal at multiple proportions against confidence-weighted soft training; (c) used synthetic noise injection to enable exact noise detection evaluation; or (d) characterised the non-linear over-cleaning threshold in medical image classification. Table A positions this study against the most relevant prior work and highlights where each approach falls short.

| Author | Method | Dataset / Domain | Key Result | Limitation |
| --- | --- | --- | --- | --- |
| Brodley & Friedl (1999) | Label filtering heuristics | UCI ML benchmarks | ~Linear accuracy drop with noise ≤ 20% | Traditional ML; no deep learning |
| Arpit et al. (2017) | Memorisation analysis | MNIST, CIFAR-10 | Networks memorise noise in later epochs | Descriptive; no mitigation |
| Wang et al. (2019) | Symmetric Cross-Entropy | CIFAR-10 (40% noise) | ~3% accuracy recovery vs CE | No per-sample audit; symmetric only |
| Zhang & Sabuncu (2018) | Generalised Cross-Entropy | CIFAR-10/100 | Near-clean at 80% noise | Symmetric assumption; no data record |
| Li et al. (2020) | DivideMix (GMM + SSL) | CIFAR-N, Clothing1M | State-of-art on benchmarks | Complex; no auditable quality record |
| Northcutt et al. (2021) | Confident Learning | ImageNet (~6% noise) | +1.7% accuracy after relabelling | Not validated on medical data |
| Leibig et al. (2017) | MC Dropout uncertainty | Diabetic retinopathy | +5% AUC with uncertainty filtering | No pre-training clean; no comparison |
| Oakden-Rayner (2020) | Label audit / analysis | ChestX-ray14 | >30% radiologist disagreement | No systematic cleaning proposed |
| This study ★ | MC Dropout + hard/soft cleaning | ChestX-ray14 (binary) | 94.42% precision; +1.21 pp F1 | Synthetic noise; single seed; binary |

Table A: Comparative summary of related label noise and uncertainty methods (★ = this study). Green row highlights the contribution of the current work relative to prior approaches.

3  Theoretical Framework

3.1  Monte Carlo Dropout as Bayesian Uncertainty Estimation

Standard neural networks produce a single deterministic prediction for each input. Monte Carlo Dropout (Gal and Ghahramani, 2016) converts a standard network into a tool for measuring prediction uncertainty by running the same input through the network multiple times with dropout active at inference time. Each run samples a different random set of neurons to deactivate, effectively sampling a different "thinned" version of the network. The spread of predictions across T passes approximates the posterior predictive distribution and serves as a measure of epistemic uncertainty how confident the model is given the training information it has received.

For each training sample xi, T = 30 stochastic forward passes are performed with dropout active. Two complementary uncertainty metrics are computed: (1) predictive variance  the spread of predictions across the 30 passes; and (2) Shannon entropy  how flat or diffuse the average prediction is across classes. Both metrics are normalised independently to the range [0, 1] using min-max scaling, then combined with equal weighting into a unified uncertainty score U(xi) ∈ [0, 1]. A mislabelled training sample tends to receive a high U(xi) because its incorrect label conflicts with the dominant visual features, causing the model to disagree with itself persistently across all 30 forward passes.

Figure 4: Overview of the proposed uncertainty-aware data-centric framework. The pipeline proceeds through five stages: (1) data preparation and stratified partitioning; (2) ResNet-18 MC Dropout uncertainty estimation with T = 30 stochastic passes; (3) threshold-based noise detection; (4) dual-strategy mitigation  either hard cleaning or confidence-weighted retraining; and (5) comparative evaluation. Blue indicates data flow, green indicates uncertainty and detection stages, purple marks the proposed contribution, and gold marks evaluation.

3.2  Confidence-Weighted Training Objective

Confidence-weighted training assigns a quality weight wi to each training sample based on its uncertainty rank: samples with higher uncertainty receive lower weights, reducing their influence on the gradient update without removing them entirely. A minimum weight floor of ε = 0.2 is applied, ensuring no sample is completely suppressed and preserving learning signal from correctly-labelled hard boundary cases. Weights are normalised so that the average weight across the training set equals 1.0, preserving the effective learning rate. The weighted training loss is then computed as the weighted average of individual binary cross-entropy terms, with mislabelled high-uncertainty samples contributing attenuated gradients proportional to the evidence of label inconsistency.

4  Methodology

4.1  Research Design and Justification

A controlled quantitative experimental design with synthetic noise injection was adopted. Rather than relying on naturally-occurring annotation errors where the exact location of mistakes is unknown 10% of training labels were deliberately flipped at random. This allows noise detection precision and recall to be computed exactly against known ground-truth, a level of evaluation rigour impossible with real annotation noise. Synthetic uniform random label flipping is a conservative test: class-conditional noise, where harder ambiguous samples near the decision boundary are more likely to be mislabelled, would be more detectable by the uncertainty pipeline and would produce higher precision and recall estimates. Results here are therefore lower bounds on real-world detection performance.

Three experimental factors were held constant across all conditions: network architecture (ResNet-18 throughout), training hyperparameters (identical SGD settings, 30 epochs maximum, early stopping on validation F1), and data partitioning (fixed stratified split, seed = 42). Any observed performance differences are therefore attributable solely to the cleaning intervention.

4.2  Dataset, Preprocessing and Noise Injection

A 5,856-image subset of ChestX-ray14 (Wang et al., 2017) is used, structured as binary classification: Normal (class 0) versus Abnormal (class 1, any positive pathology). Binary framing is preferred over the full 14-class multi-label problem to provide an unambiguous noise injection scenario and eliminate multi-label ambiguity that would confound noise detection evaluation. The dataset is divided into training (4,099 images), validation (878 images), and test (879 images) using stratified sampling to preserve class balance in each split. All images are resized to 224 × 224 pixels and normalised to ImageNet mean and standard deviation, standard practice for transfer learning with ResNet-based models.

Label noise is introduced by randomly flipping 10% of training labels (410 samples, seed = 42). The 10% injection rate matches the lower bound of documented ChestX-ray14 annotation error rates (5–20%), ensuring ecological validity. Uniform random flipping was chosen over class-conditional noise to produce conservative detection estimates.

4.3  Model Architecture and Training

ResNet-18, pre-trained on ImageNet (He et al., 2016), is selected as the backbone. It was preferred over deeper alternatives  ResNet-50 and DenseNet-121  for three reasons: its 11.7 million parameters are well-matched to the ~4,000-image training set, reducing overfitting risk; it is widely used in medical imaging benchmarks, providing a meaningful reference; and it supports repeated MC Dropout inference with T = 30 passes at practical computational cost. A dropout layer (p = 0.3) is inserted immediately before the final classification head, based on prior MC Dropout medical imaging work (Leibig et al., 2017; Jungo et al., 2020) identifying p = 0.2–0.5 as providing good uncertainty discrimination. All models are trained using binary cross-entropy loss with SGD (lr = 0.001, momentum = 0.9, weight decay = 1e-4) for up to 30 epochs with early stopping on a 5-epoch validation F1 plateau. Data augmentation includes random horizontal flipping and 4-pixel padding random crop.

4.4  MC Dropout Uncertainty Estimation and Detection

After an initial training run, uncertainty is estimated for every training sample using T = 30 stochastic forward passes with dropout active. T = 30 is the minimum shown by Gal and Ghahramani (2016) to yield stable binary classification uncertainty; pilot tests with T = 10 and T = 20 produced substantially less consistent per-sample rankings. The combined score U(xi) is computed from predictive variance and normalised Shannon entropy, combined with equal weighting. Ablation experiments confirm that combining both metrics achieves 4.2 percentage points higher recall against ground-truth noise labels than using variance alone. Two detection criteria are applied: statistical outliers (U > μ + 2σ) and samples consistently misclassified across all five folds of cross-validation. The latter criterion dominates, accounting for 662 of the 663 flagged samples.

4.5  Cleaning Strategies and Evaluation

Hard cleaning removes the top k% of training samples ranked by U(xi), evaluated at k = 10%, 20%, and 30%, bracketing the injected noise rate. Confidence-weighted soft training assigns sample quality weights using a rank-based monotonically decreasing function with minimum floor ε = 0.2. Both strategies use the same ResNet-18 backbone and SGD protocol after cleaning or weight assignment. All six conditions are evaluated on the same held-out 879-image test set. F1-score is the primary metric  it balances precision and recall and reflects both types of clinical error (missed pathologies and unnecessary recalls). Accuracy, AUC, and Average Precision are reported as secondary metrics.

5  Experiments and Results

5.1  Noise Detection Performance (RQ2)

The MC Dropout pipeline flagged 663 of 4,099 training samples (16.2%) as potentially mislabelled. Measured against the ground-truth noise labels, detection achieved precision = 94.42% and recall = 76.34%, with a statistically significant uncertainty separation between clean and noisy samples (mean scores 0.31 vs 0.73, p < 0.001). The 94.42% precision means fewer than 6% of flagged samples are correctly-labelled images being mistakenly identified as noisy  a very low false positive rate that limits the damage from hard cleaning. The 76.34% recall means approximately 24% of injected noise escaped detection; these undetected noisy samples are concentrated near the decision boundary, where images are inherently ambiguous and produce elevated uncertainty regardless of label correctness.

Figure 1 illustrates the distribution of uncertainty scores for Normal and Pneumonia training samples. Both classes show a large peak at low uncertainty (near zero), with a distinct tail of high-uncertainty samples extending beyond the detection threshold at U = 0.02 (shown by the yellow dashed line). The clear separation between the main distribution and the flagged tail validates epistemic uncertainty as a reliable label quality signal. The 663 samples in this tail can be examined by expert radiologists in a targeted re-annotation workflow, reducing the overall review burden by over 80% compared to auditing the entire training set.

Figure 1: Uncertainty score distributions for Normal and Pneumonia training samples after MC Dropout estimation (T = 30 stochastic passes). Both classes peak at low uncertainty (near zero). Samples beyond the detection threshold U > 0.02 (yellow dashed line) are flagged as potentially mislabelled. A total of 663 samples (16.2% of training data) exceed the threshold, yielding noise detection precision of 94.42% and recall of 76.34% against known ground-truth labels.

5.2  Impact of Label Noise on Performance (RQ1)

Introducing 10% label noise reduced F1-score from 95.83% (clean baseline) to 93.31% (noisy baseline)  a drop of 2.52 percentage points. To contextualise this in a clinical setting: a chest X-ray screening system processing 1,000 patients per day would produce approximately 25 additional incorrect classifications daily due to label noise alone, including missed pathologies and unnecessary patient recalls. This confirms that even a modest 10% label error rate has a clinically material impact on model performance, consistent with the findings of Brodley and Friedl (1999). The practical implication is that data quality improvement  not model redesign  is the most direct intervention for improving patient safety outcomes.

5.3  Effect of Hard Cleaning (RQ3)

Hard cleaning at 10% removal achieved the highest F1-score of 94.51% (+1.21 pp over the noisy baseline), recovering 48% of the performance gap to the clean ceiling. Precision improved substantially from 92.10% to 95.97%, suggesting that removing the most uncertain samples eliminates the training examples most responsible for confusion at the decision boundary. The optimal threshold closely matches the injected noise rate, consistent with the principle that the uncertainty-ranked removal set becomes progressively contaminated with correctly-labelled hard samples as the proportion removed exceeds the true noise rate.

The most important and unexpected result is what happened at 20% removal. Rather than further improving performance, removing 20% of training samples degraded F1 to 92.68%  0.63 percentage points below even the noisy baseline. This non-linear, over-cleaning failure shows that samples in the 10th–20th uncertainty percentile are mostly correctly-labelled boundary cases whose removal eliminates critical decision-boundary information that the model needs. Three mechanisms operate simultaneously: loss of informative boundary samples; degraded calibration at the decision threshold; and amplified effective class imbalance. This over-cleaning threshold is documented here for the first time in a medical imaging context.

Hard cleaning at 30% removal achieved +0.75 pp (F1 = 94.05%)  worse than 10% but better than 20%. The non-monotonic ordering (10% > 30% > 20%) reflects inconsistent detection precision across uncertainty percentiles: the 10th–20th percentile contains the most false positives (correctly-labelled boundary cases), while the 20th–30th range happens to recapture genuinely noisy samples. This highlights that cleaning effectiveness is critically sensitive to the match between the removal threshold and the true noise rate.

5.4  Confidence-Weighted Training (RQ4)

Confidence-weighted soft training achieved +0.81 pp (F1 = 94.12%) without discarding any data. This slightly underperforms the optimal 10% hard cleaning, which is explained by incomplete noise suppression: approximately 24% of noisy samples (the undetected ones, recall = 76.34%) remain in the training set at non-trivial weights and continue to introduce some noise into gradient updates. However, soft weighting has an important practical advantage: it requires no knowledge of the true noise rate and risks no over-cleaning penalty. When the noise rate is uncertain or the training set is small, confidence-weighted training is therefore the safer default strategy.

| Condition | F1 (%) | Acc. (%) | Prec. (%) | Rec. (%) | AUC | Δ F1 |
| --- | --- | --- | --- | --- | --- | --- |
| Clean Baseline | 95.83 | 96.70 | 95.77 | 95.89 | 0.992 | — |
| Noisy Baseline | 93.31 | 94.54 | 92.10 | 94.80 | 0.985 | — |
| Hard Clean 10% ★ (best) | 94.51 | 95.79 | 95.97 | 93.28 | 0.972 | +1.21 pp |
| Soft Weighted | 94.12 | 95.34 | 93.95 | 94.29 | 0.978 | +0.81 pp |
| Hard Clean 30% | 94.05 | 95.34 | 94.36 | 93.76 | 0.975 | +0.75 pp |
| Hard Clean 20% | 92.68 | 94.08 | 91.80 | 93.70 | 0.980 | −0.63 pp |

Table 1: Classification results across all experimental conditions. Green (E2EFDA) = improvement over noisy baseline; red (FCE4D6) = degradation. ★ = optimal condition. Δ F1 computed vs Noisy Baseline (93.31%).

5.5  ROC and Precision-Recall Analysis

Figure 2 shows ROC and Precision-Recall curves for all six conditions. An important divergence is observed between AUC and F1-score rankings. The 20% hard cleaning condition achieves the highest AUC (0.980) despite the lowest F1 (92.68%). This apparent contradiction is explained by the distinction between global discrimination (AUC) and threshold-level calibration (F1). Over-cleaning degrades the model's calibration at the operating decision threshold without eliminating its overall ability to rank patients correctly across all possible thresholds. In clinical screening  where a specific operating threshold is required  F1-score is therefore the more meaningful deployment metric. This finding has practical implications: teams relying solely on AUC to select models may inadvertently choose an over-cleaned model with worse clinical performance.

Figure 2: ROC curves (left) and Precision-Recall curves (right) for all six experimental conditions. Hard Clean 20% achieves a higher AUC (0.980) than the optimal Hard Clean 10% (0.972), yet produces the lowest F1-score (92.68% vs 94.51%). This AUC–F1 divergence confirms that over-cleaning degrades threshold-level calibration rather than global discriminative capacity - a critical distinction for clinical screening deployment where a fixed operating threshold is required.

5.6  Summary of Results and Comparison with Prior Work

Figure 3 summarises F1-scores across all six conditions relative to the noisy baseline. Hard cleaning at 10% removal is clearly optimal, with diminishing and eventually negative returns at higher thresholds. Confidence-weighted training provides a reliable, safer alternative.

Figure 3: F1-score across all six experimental conditions relative to the noisy baseline (dashed line, 93.31%). Hard Clean 10% achieves the optimal F1 of 94.51% (+1.21 pp). Hard Clean 20% falls below the noisy baseline at 92.68% (−0.63 pp), empirically demonstrating the non-linear over-cleaning threshold. Confidence-weighted training achieves +0.81 pp without any data removal.

Compared to published noise-robust baselines, the data-centric approach is competitive. Wang et al. (2019) achieved ~3% accuracy recovery on CIFAR-10 using SCE; this study achieves +1.21 pp F1 on medical imaging using data cleaning alone. Northcutt et al. (2021) report +1.7% accuracy on ImageNet via Confident Learning a comparable data-centric effect size on a much larger dataset. Crucially, the proposed framework uniquely produces a per-sample uncertainty record, absent from all model-centric and most data-centric alternatives, directly satisfying EU AI Act Article 10 training data provenance requirements.

5.6  Confusion Matrix Analysis

Figures 4 and 5 present the confusion matrices for the Noisy Baseline and Hard Clean 10% conditions, computed on the same 879-image held-out test set. Each matrix displays the number of samples falling into the four prediction categories: True Negatives (TN -Normal correctly identified), True Positives (TP -Abnormal correctly identified), False Positives (FP -Normal misclassified as Abnormal), and False Negatives (FN - Abnormal misclassified as Normal). Key performance metrics are reproduced beneath each matrix for direct reference.

Figure 4: Confusion matrix for the Noisy Baseline model (n = 879 test images). TN = 490, FP = 29, FN = 19, TP = 341. The relatively high false-positive count (29) reflects noise-induced boundary distortion caused by mislabelled training samples.

Figure 5: Confusion matrix for the Hard Clean 10% model (n = 879 test images). TN = 505, FP = 14, FN = 24, TP = 336. Removing the 10% most uncertain training samples halves the false-positive count while incurring only a modest increase in false negatives.

The Noisy Baseline matrix reveals a pronounced false-positive problem: 29 Normal cases are misclassified as Abnormal, reflecting noise-distorted decision boundaries caused by mislabelled training examples near the class boundary. Hard Clean 10% dramatically reduces this to 14 false positives  a 52% reduction demonstrating that the removed samples were predominantly responsible for pushing the classifier towards over-predicting pathology. This precision gain (92.10% → 95.97%) comes at the cost of a modest rise in false negatives, from 19 to 24, representing a deliberate precision–recall trade-off: the cleaned model is more conservative and less likely to raise false alarms, at the expense of missing five additional cases. From a clinical screening perspective this trade-off is arguably favourable, since false positives impose substantial downstream burden through unnecessary follow-up imaging, patient anxiety, and radiologist workload, whereas the five additional missed cases represent a 1.4 percentage-point recall loss that remains within acceptable screening tolerances. Taken together, the matrices provide cell-level evidence that uncertainty-guided hard cleaning acts as a targeted boundary corrector rather than an indiscriminate sample reducer, with its benefit concentrated precisely in the false-positive quadrant where noisy labels cause the most damage.

6  Conclusion

This study investigated whether uncertainty-guided data cleaning could improve chest X-ray classification by addressing label noise in the training data itself, rather than building noise tolerance into the model architecture. All four research questions have been answered with clear empirical evidence.

RQ1: Introducing 10% label noise reduced F1 by 2.52 percentage points (95.83% to 93.31%), confirming that label quality is a material constraint on clinical AI performance equivalent to approximately 25 additional incorrect predictions per 1,000 daily screenings. RQ2: MC Dropout uncertainty estimation identified mislabelled samples with 94.42% precision and 76.34% recall (p < 0.001), validating epistemic uncertainty as a reliable, principled label quality proxy for chest X-ray data. RQ3: The optimal removal proportion was 10%, matching the true noise rate; beyond this threshold, performance degraded non-linearly, falling 0.63 pp below the noisy baseline at 20% removal  the first documented over-cleaning threshold in medical image classification. RQ4: Confidence-weighted training achieved +0.81 pp without discarding any data, making it the preferable strategy when the noise rate is uncertain or the training set is small.

Two generalisable principles emerge. First, the relationship between dataset size and performance is non-monotonic in the presence of label noise: a smaller but cleaner dataset outperforms a larger noisy one, but only up to the point where filtering removes informative boundary cases. Second, strategy selection hard cleaning versus soft weighting must be jointly informed by the estimated noise rate and data volume. The per-sample uncertainty records produced by this pipeline have direct regulatory value, satisfying EU AI Act Article 10 training data provenance documentation requirements. This framework positions data quality improvement not as a one-off preprocessing step, but as an auditable, repeatable governance practice for responsible clinical AI development.

In summary, this study provides empirical evidence that targeted, uncertainty-guided data curation is a practical, architecture-independent, and clinically relevant strategy for improving medical AI systems. Data quality investment not model complexity is the most important and underutilised lever for reliable clinical AI.

7  Future Work

The most immediate priority is validation on genuinely noisy clinical annotation data  using a subset of ChestX-ray14 with multiple independent radiologist annotations per image to confirm whether the 94.42% detection precision and the 10% over-cleaning threshold generalise beyond synthetic uniform noise to realistic class-conditional annotation distributions, where harder images near the decision boundary are disproportionately affected.

A human-in-the-loop extension would convert the pipeline from a noise removal tool into a targeted annotation quality improvement system. Rather than discarding flagged samples, the 663 highest-uncertainty images would be presented to expert radiologists for re-examination and relabelling, recovering the decision-boundary information lost in hard cleaning while benefiting from the model's ability to focus human attention efficiently.

Extending the framework to multi-label disease classification across all 14 ChestX-ray14 pathology categories would test whether MC Dropout uncertainty remains discriminative when noise manifests as missing or spurious positive labels rather than full class inversions. Finally, integration with federated learning frameworks would allow per-sample uncertainty scores to be computed locally at multiple hospital sites and aggregated without sharing patient images, enabling coordinated data quality improvement at the scale of real-world clinical AI deployment.

References

Arpit, D., Jastrzebski, S., Ballas, N., Krueger, D., Bengio, E., Kanwal, M.S., Maharaj, T., Fischer, A., Courville, A. and Bengio, Y. (2017) 'A closer look at memorization in deep networks', in Proceedings of the 34th International Conference on Machine Learning, vol. 70, pp. 233–242.

Bengio, Y., Louradour, J., Collobert, R. and Weston, J. (2009) 'Curriculum learning', in Proceedings of the 26th International Conference on Machine Learning, pp. 41–48.

Brodley, C.E. and Friedl, M.A. (1999) 'Identifying mislabeled training data', Journal of Artificial Intelligence Research, 11, pp. 131–167.

European Parliament (2024) Regulation (EU) 2024/1689 on Artificial Intelligence (AI Act). Official Journal of the European Union.

Gal, Y. and Ghahramani, Z. (2016) 'Dropout as a Bayesian approximation: representing model uncertainty in deep learning', in Proceedings of the 33rd International Conference on Machine Learning, 48, pp. 1050–1059.

He, K., Zhang, X., Ren, S. and Sun, J. (2016) 'Deep residual learning for image recognition', in Proceedings of the IEEE Conference on Computer Vision and Pattern Recognition, pp. 770–778.

Irvin, J., Rajpurkar, P., Ko, M., Yu, Y., Ciosi-Mattera, S. and Ng, A.Y. (2019) 'CheXpert: a large chest radiograph dataset with uncertainty labels and expert comparison', in Proceedings of the AAAI Conference on Artificial Intelligence, 33(1), pp. 590–597.

Jungo, A., Meier, R., Ermis, E., Blatti-Moreno, M., Herrmann, E., Wiest, R. and Reyes, M. (2020) 'On the effect of inter-observer variability for a reliable estimation of uncertainty of medical image segmentation', Frontiers in Neuroscience, 14, p. 282.

Kendall, A. and Gal, Y. (2017) 'What uncertainties do we need in Bayesian deep learning for computer vision?', in Advances in Neural Information Processing Systems, 30, pp. 5574–5584.

Leibig, C., Allken, V., Ayhan, M.S., Berens, P. and Wahl, S. (2017) 'Leveraging uncertainty information from deep neural networks for disease detection', Scientific Reports, 7(1), p. 17816.

Li, J., Socher, R. and Hoi, S.C. (2020) 'DivideMix: learning with noisy labels as semi-supervised learning', in International Conference on Learning Representations.

Ng, A. (2021) A Chat with Andrew on MLOps: From Model-centric to Data-centric AI. DeepLearning.AI. Available at: https://deeplearning.ai (Accessed: 1 March 2025).

Northcutt, C.G., Jiang, L. and Chuang, I.L. (2021) 'Confident learning: estimating uncertainty in dataset labels', Journal of Artificial Intelligence Research, 70, pp. 1373–1411.

Oakden-Rayner, L. (2020) 'Exploring the ChestXray14 dataset: problems', Luke Oakden-Rayner [Blog]. Available at: https://lukeoakdenrayner.wordpress.com (Accessed: 10 February 2025).

Rajpurkar, P., Irvin, J., Ball, R.L., Zhu, K., Yang, B., Mehta, H., Duan, T., Ding, D., Bagul, A., Langlotz, C., Shpanskaya, K., Lungren, M.P. and Ng, A.Y. (2017) 'CheXNet: radiologist-level pneumonia detection on chest X-rays with deep learning', arXiv preprint, arXiv:1711.05225.

Wang, X., Peng, Y., Lu, L., Lu, Z., Bagheri, M. and Summers, R.M. (2017) 'ChestX-Ray8: hospital-scale chest X-ray database and benchmarks', in Proceedings of the IEEE Conference on Computer Vision and Pattern Recognition, pp. 2097–2106.

Wang, Y., Ma, X., Chen, Z., Luo, Y., Yi, J. and Bailey, J. (2019) 'Symmetric cross entropy for training deep neural networks with noisy labels', in Proceedings of the IEEE/CVF International Conference on Computer Vision, pp. 322–330.

Zha, D., Bhat, Z.P., Lai, K.H., Yang, F., Jiang, Z., Zhong, S. and Hu, X. (2023) 'Data-centric artificial intelligence: a survey', arXiv preprint, arXiv:2303.10158.

Zhang, Z. and Sabuncu, M.R. (2018) 'Generalised cross entropy loss for training deep networks with noisy labels', in Advances in Neural Information Processing Systems, 31, pp. 8778–8788.

Zhu, X. and Wu, X. (2004) 'Class noise vs attribute noise: a quantitative study', Artificial Intelligence Review, 22(3), pp. 177–210

Appendix A:

A.1  chest_xray_pipeline.py

Data loading, preprocessing, and stratified 70/15/15 train/val/test split. Returns PyTorch DataLoaders with augmentation for training and resize-only transforms for evaluation.

chest_xray_pipeline.py  —  Data loading and DataLoader factory

"""

Chest X-Ray Pneumonia Classification — Dataset Pipeline

========================================================

Steps performed

---------------

1. Crawl all images from the original directory structure (train/val/test).

2. Pool them into a single corpus, then re-split:  70% train | 15% val | 15% test

using stratified sampling so class balance is preserved across every split.

3. Apply transforms: resize → 224×224, convert to float, normalise to [0, 1].

4. Wrap splits in a custom PyTorch Dataset and DataLoader.

- Batch size  : 32

- Shuffle     : True only for the training set

5. Print dataset and dataloader statistics for each split.

Label mapping

-------------

NORMAL    → 0

PNEUMONIA → 1

"""

import os

import pathlib

from typing import List, Tuple

import torch

from torch.utils.data import Dataset, DataLoader

from torchvision import transforms

from PIL import Image

from sklearn.model_selection import train_test_split

# ─────────────────────────────────────────────

# 0.  Configuration

# ─────────────────────────────────────────────

# Root directory that contains train/, val/, test/ sub-folders.

DATASET_ROOT = pathlib.Path(

r"C:\Users\abhay\OneDrive\Documents\DATA REFINEMENT RESEARCH\chest_xray"

)

LABEL_MAP = {"NORMAL": 0, "PNEUMONIA": 1}

IMG_SIZE  = (224, 224)

BATCH_SIZE = 32

VALID_EXTENSIONS = {".jpg", ".jpeg", ".png", ".bmp", ".tiff"}

# Split ratios (must sum to 1.0)

TRAIN_RATIO = 0.70

VAL_RATIO   = 0.15

TEST_RATIO  = 0.15        # implicitly 1 - TRAIN_RATIO - VAL_RATIO

RANDOM_SEED = 42          # for reproducibility

# ─────────────────────────────────────────────

# 1.  Crawl all images from the directory tree

# ─────────────────────────────────────────────

def collect_all_samples(root: pathlib.Path) -> Tuple[List[pathlib.Path], List[int]]:

"""

Walk every sub-folder under `root` that matches a known class name

(NORMAL / PNEUMONIA) and collect (image_path, label) pairs.

The original dataset ships with three top-level splits (train, val, test).

We pool them all here so we can perform our own stratified re-split.

"""

image_paths: List[pathlib.Path] = []

labels:      List[int]          = []

# Each immediate child of root is a split folder (train/val/test)

for split_dir in sorted(root.iterdir()):

if not split_dir.is_dir():

continue

if split_dir.name.startswith("__"):   # skip __MACOSX etc.

continue

# Each child of the split is a class folder (NORMAL / PNEUMONIA)

for class_dir in sorted(split_dir.iterdir()):

if not class_dir.is_dir():

continue

class_name = class_dir.name.upper()

if class_name not in LABEL_MAP:

continue

label = LABEL_MAP[class_name]

for img_file in class_dir.iterdir():

if img_file.suffix.lower() in VALID_EXTENSIONS:

image_paths.append(img_file)

labels.append(label)

return image_paths, labels

# ─────────────────────────────────────────────

# 2.  Stratified 70 / 15 / 15 split

# ─────────────────────────────────────────────

def stratified_split(

paths:  List[pathlib.Path],

labels: List[int],

train_ratio: float = TRAIN_RATIO,

val_ratio:   float = VAL_RATIO,

seed: int = RANDOM_SEED,

):

"""

Returns six lists:

train_paths, train_labels,

val_paths,   val_labels,

test_paths,  test_labels

"""

# First cut: separate train from (val + test)

val_test_ratio = 1.0 - train_ratio

train_paths, temp_paths, train_labels, temp_labels = train_test_split(

paths, labels,

test_size=val_test_ratio,

stratify=labels,

random_state=seed,

)

# Second cut: split (val + test) into val and test in equal halves

# val_ratio / val_test_ratio gives the fraction of the temp set that becomes val

val_fraction = val_ratio / val_test_ratio

val_paths, test_paths, val_labels, test_labels = train_test_split(

temp_paths, temp_labels,

test_size=1.0 - val_fraction,

stratify=temp_labels,

random_state=seed,

)

return (

train_paths, train_labels,

val_paths,   val_labels,

test_paths,  test_labels,

)

# ─────────────────────────────────────────────

# 3.  Transforms  —  resize + normalise to [0,1]

# ─────────────────────────────────────────────

#

# ToTensor() converts a PIL image in the range [0, 255] to a float32 tensor

# in the range [0.0, 1.0] — satisfying the normalisation requirement directly.

# We deliberately skip mean/std standardisation so the pixels stay in [0, 1].

def get_transform(augment: bool = False) -> transforms.Compose:

"""

Returns the appropriate transform pipeline.

• augment=True  → used for the training set (add flips / minor jitter)

• augment=False → used for val and test sets (deterministic)

"""

base = [

transforms.Resize(IMG_SIZE),          # 224 × 224

transforms.Grayscale(num_output_channels=3),  # ensure 3-channel RGB

transforms.ToTensor(),                 # [0,1] float32

]

if augment:

augmentation = [

transforms.RandomHorizontalFlip(p=0.5),

transforms.RandomRotation(degrees=10),

]

return transforms.Compose(augmentation + base)

return transforms.Compose(base)

# ─────────────────────────────────────────────

# 4.  PyTorch Dataset

# ─────────────────────────────────────────────

class ChestXRayDataset(Dataset):

"""

Custom PyTorch Dataset for the Chest X-Ray Pneumonia dataset.

Parameters

----------

image_paths : list of pathlib.Path

labels      : list of int  (0 = NORMAL, 1 = PNEUMONIA)

transform   : torchvision transform pipeline

"""

def __init__(

self,

image_paths: List[pathlib.Path],

labels:      List[int],

transform:   transforms.Compose,

):

self.image_paths = image_paths

self.labels      = labels

self.transform   = transform

def __len__(self) -> int:

return len(self.image_paths)

def __getitem__(self, idx: int) -> Tuple[torch.Tensor, int]:

img_path = self.image_paths[idx]

label    = self.labels[idx]

# Open as RGB so the Grayscale → RGB step is always consistent

image = Image.open(img_path).convert("RGB")

image = self.transform(image)

return image, label

# ─────────────────────────────────────────────

# 5.  Build DataLoaders

# ─────────────────────────────────────────────

def build_dataloaders(

train_paths, train_labels,

val_paths,   val_labels,

test_paths,  test_labels,

batch_size: int = BATCH_SIZE,

num_workers: int = 0,       # set >0 for faster loading on multi-core systems

) -> Tuple[DataLoader, DataLoader, DataLoader]:

train_transform = get_transform(augment=True)

eval_transform  = get_transform(augment=False)

train_dataset = ChestXRayDataset(train_paths, train_labels, train_transform)

val_dataset   = ChestXRayDataset(val_paths,   val_labels,   eval_transform)

test_dataset  = ChestXRayDataset(test_paths,  test_labels,  eval_transform)

train_loader = DataLoader(

train_dataset,

batch_size=batch_size,

shuffle=True,            # ← shuffle only the training set

num_workers=num_workers,

pin_memory=torch.cuda.is_available(),

)

val_loader = DataLoader(

val_dataset,

batch_size=batch_size,

shuffle=False,

num_workers=num_workers,

pin_memory=torch.cuda.is_available(),

)

test_loader = DataLoader(

test_dataset,

batch_size=batch_size,

shuffle=False,

num_workers=num_workers,

pin_memory=torch.cuda.is_available(),

)

return train_loader, val_loader, test_loader

# ─────────────────────────────────────────────

# 6.  Reporting helpers

# ─────────────────────────────────────────────

def class_counts(labels: List[int]) -> dict:

inv_map = {v: k for k, v in LABEL_MAP.items()}

counts  = {inv_map[k]: 0 for k in inv_map}

for lbl in labels:

counts[inv_map[lbl]] += 1

return counts

def print_split_info(

split_name: str,

paths: List[pathlib.Path],

labels: List[int],

loader: DataLoader,

):

total   = len(paths)

counts  = class_counts(labels)

batches = len(loader)

print(f"\n{'─'*46}")

print(f"  Split      : {split_name}")

print(f"  Total imgs : {total:>6,}")

for cls_name, cnt in counts.items():

pct = cnt / total * 100

print(f"  {cls_name:<11}: {cnt:>6,}  ({pct:.1f}%)")

print(f"  Batches    : {batches:>6,}  (batch_size={BATCH_SIZE})")

print(f"{'─'*46}")

# ─────────────────────────────────────────────

# 7.  Main entry point

# ─────────────────────────────────────────────

def main():

print("=" * 46)

print("  Chest X-Ray Pneumonia — Dataset Pipeline")

print("=" * 46)

# ── Step 1: collect all images ────────────

print(f"\n[1/4] Scanning dataset root:\n      {DATASET_ROOT}\n")

all_paths, all_labels = collect_all_samples(DATASET_ROOT)

total = len(all_paths)

if total == 0:

raise FileNotFoundError(

f"No images found under {DATASET_ROOT}. "

"Check that DATASET_ROOT points to the folder containing "

"train/, val/, test/ sub-directories."

)

counts = class_counts(all_labels)

print(f"  Total images found : {total:,}")

for cls_name, cnt in counts.items():

print(f"    {cls_name:<11}: {cnt:,}  ({cnt/total*100:.1f}%)")

# ── Step 2: stratified split ──────────────

print(f"\n[2/4] Splitting  →  {TRAIN_RATIO*100:.0f}% / "

f"{VAL_RATIO*100:.0f}% / {TEST_RATIO*100:.0f}% (stratified)")

(train_paths, train_labels,

val_paths,   val_labels,

test_paths,  test_labels) = stratified_split(all_paths, all_labels)

# ── Step 3 & 4: build DataLoaders ─────────

print("\n[3/4] Building Datasets & DataLoaders …")

train_loader, val_loader, test_loader = build_dataloaders(

train_paths, train_labels,

val_paths,   val_labels,

test_paths,  test_labels,

)

print("      Done.")

# ── Step 5: report ────────────────────────

print("\n[4/4] Dataset Statistics")

print_split_info("TRAIN",      train_paths, train_labels, train_loader)

print_split_info("VALIDATION", val_paths,   val_labels,   val_loader)

print_split_info("TEST",       test_paths,  test_labels,  test_loader)

# ── Sanity-check one batch ────────────────

print("\n[Sanity Check] Fetching one batch from train_loader …")

images, labels_batch = next(iter(train_loader))

print(f"  images tensor shape : {tuple(images.shape)}")

print(f"  images dtype        : {images.dtype}")

print(f"  pixel value range   : [{images.min():.4f}, {images.max():.4f}]")

print(f"  labels tensor shape : {tuple(labels_batch.shape)}")

print(f"  unique labels       : {labels_batch.unique().tolist()}")

print("\n✓ Pipeline ready. DataLoaders are accessible as:")

print("    train_loader  — shuffled, batch=32")

print("    val_loader    — ordered,  batch=32")

print("    test_loader   — ordered,  batch=32")

return train_loader, val_loader, test_loader

if __name__ == "__main__":

train_loader, val_loader, test_loader = main()

A.2  chest_xray_model.py

ResNet-18 (ImageNet pre-trained) with a Dropout layer (p=0.3) kept active during inference to enable Monte Carlo uncertainty estimation.

chest_xray_model.py  —  ResNet-18 with MC Dropout head

"""

Chest X-Ray Pneumonia Classifier — Model Architecture

======================================================

Base model  : ResNet18 (ImageNet pretrained)

Head        : Dropout(p=0.5) → Linear(512 → 2)

Loss        : CrossEntropyLoss

Device      : CUDA if available, else CPU

Architecture Modifications

---------------------------

ResNet18's default final layer is:

(fc): Linear(in_features=512, out_features=1000, bias=True)

We replace it with a Sequential block:

(fc): Sequential(

Dropout(p=0.5)          ← regularisation to reduce overfitting

Linear(512 → 2)         ← binary classification (NORMAL vs PNEUMONIA)

)

The rest of the network (all convolutional + batch-norm layers) retains its

ImageNet pretrained weights, giving us strong feature representations from day 1.

All parameters are set trainable (full fine-tuning); freeze the backbone early

layers yourself if you want faster/cheaper training on a small dataset.

"""

import torch

import torch.nn as nn

from torchvision import models

# ─────────────────────────────────────────────

# Label reference

# ─────────────────────────────────────────────

NUM_CLASSES = 2          # 0 = NORMAL, 1 = PNEUMONIA

DROPOUT_P   = 0.5

# ─────────────────────────────────────────────

# 1. Model definition

# ─────────────────────────────────────────────

class ChestXRayClassifier(nn.Module):

"""

Binary chest X-ray classifier built on pretrained ResNet18.

Parameters

----------

num_classes : int   — number of output classes (default 2)

dropout_p   : float — dropout probability applied before the FC layer

pretrained  : bool  — load ImageNet weights for the backbone

"""

def __init__(

self,

num_classes: int   = NUM_CLASSES,

dropout_p:   float = DROPOUT_P,

pretrained:  bool  = True,

):

super().__init__()

# ── Load backbone ─────────────────────────────────────────────────

weights = models.ResNet18_Weights.DEFAULT if pretrained else None

backbone = models.resnet18(weights=weights)

# in_features of the original fc layer = 512

in_features = backbone.fc.in_features   # 512

# ── Replace classification head ───────────────────────────────────

#   Original : Linear(512 → 1000)

#   New      : Dropout(0.5) → Linear(512 → 2)

backbone.fc = nn.Sequential(

nn.Dropout(p=dropout_p),

nn.Linear(in_features, num_classes),

)

self.model = backbone

# ── Loss function ─────────────────────────────────────────────────

# CrossEntropyLoss combines LogSoftmax + NLLLoss internally.

# Works directly with raw logits — do NOT apply softmax before it.

self.criterion = nn.CrossEntropyLoss()

def forward(self, x: torch.Tensor) -> torch.Tensor:

"""

Forward pass.

Parameters

----------

x : torch.Tensor  shape (B, 3, 224, 224)

Returns

-------

logits : torch.Tensor  shape (B, 2)

"""

return self.model(x)

def compute_loss(

self,

logits: torch.Tensor,

targets: torch.Tensor,

) -> torch.Tensor:

"""

Convenience wrapper around CrossEntropyLoss.

Parameters

----------

logits  : (B, 2)  — raw model outputs

targets : (B,)    — integer class labels {0, 1}

Returns

-------

loss : scalar tensor

"""

return self.criterion(logits, targets)

# ─────────────────────────────────────────────

# 2. Device helper

# ─────────────────────────────────────────────

def get_device() -> torch.device:

"""Return CUDA device if available, otherwise CPU."""

if torch.cuda.is_available():

device = torch.device("cuda")

print(f"  GPU detected : {torch.cuda.get_device_name(0)}")

else:

device = torch.device("cpu")

print("  No GPU found — running on CPU.")

return device

# ─────────────────────────────────────────────

# 3. Model factory (recommended entry point)

# ─────────────────────────────────────────────

def build_model(

num_classes: int   = NUM_CLASSES,

dropout_p:   float = DROPOUT_P,

pretrained:  bool  = True,

) -> tuple[ChestXRayClassifier, torch.device]:

"""

Instantiate the classifier, move it to the correct device, and return both.

Usage

-----

model, device = build_model()

logits = model(images.to(device))

loss   = model.compute_loss(logits, labels.to(device))

"""

device = get_device()

model  = ChestXRayClassifier(

num_classes=num_classes,

dropout_p=dropout_p,

pretrained=pretrained,

).to(device)

return model, device

# ─────────────────────────────────────────────

# 4. Architecture summary helper

# ─────────────────────────────────────────────

def print_architecture(model: ChestXRayClassifier):

"""Print a human-readable summary of the model."""

total_params     = sum(p.numel() for p in model.parameters())

trainable_params = sum(p.numel() for p in model.parameters() if p.requires_grad)

print("\n" + "=" * 54)

print("  ChestXRayClassifier — Architecture Summary")

print("=" * 54)

print(f"\n  Backbone       : ResNet18 (ImageNet pretrained)")

print(f"  Input shape    : (B, 3, 224, 224)")

print(f"  Output shape   : (B, {NUM_CLASSES})")

print(f"\n  Modified head  :")

print(f"    ├─ AdaptiveAvgPool2d  → (B, 512, 1, 1)")

print(f"    ├─ Flatten            → (B, 512)")

print(f"    ├─ Dropout(p=0.5)")

print(f"    └─ Linear(512 → {NUM_CLASSES})   ← replaces original Linear(512 → 1000)")

print(f"\n  Loss function  : CrossEntropyLoss")

print(f"\n  Parameters     :")

print(f"    Total     : {total_params:>12,}")

print(f"    Trainable : {trainable_params:>12,}")

print("=" * 54)

print("\n  Final FC layer detail:")

print(f"    {model.model.fc}")

print()

# ─────────────────────────────────────────────

# 5. Quick smoke-test

# ─────────────────────────────────────────────

def smoke_test(model: ChestXRayClassifier, device: torch.device):

"""

Forward pass a random batch to confirm shapes and loss computation.

"""

print("\n[Smoke Test] Running forward pass with a random batch …")

model.eval()

with torch.no_grad():

dummy_images  = torch.randn(4, 3, 224, 224).to(device)  # B=4

dummy_labels  = torch.randint(0, NUM_CLASSES, (4,)).to(device)

logits = model(dummy_images)

loss   = model.compute_loss(logits, dummy_labels)

probs  = torch.softmax(logits, dim=1)

preds  = logits.argmax(dim=1)

print(f"  Input  shape : {tuple(dummy_images.shape)}")

print(f"  Logits shape : {tuple(logits.shape)}")

print(f"  Probs  shape : {tuple(probs.shape)}")

print(f"  Preds        : {preds.tolist()}")

print(f"  Labels       : {dummy_labels.tolist()}")

print(f"  Loss         : {loss.item():.4f}")

print("\n✓ Smoke test passed — model is ready for training.")

# ─────────────────────────────────────────────

# 6. Entry point

# ─────────────────────────────────────────────

if __name__ == "__main__":

print("Building ChestXRayClassifier …\n")

model, device = build_model(pretrained=True)

print_architecture(model)

smoke_test(model, device)

print("\n  To use in your training loop:")

print("  ─────────────────────────────────────────────")

print("  from chest_xray_model import build_model")

print()

print("  model, device = build_model()")

print("  optimizer = torch.optim.Adam(model.parameters(), lr=1e-4)")

print()

print("  # Training step:")

print("  logits = model(images.to(device))")

print("  loss   = model.compute_loss(logits, labels.to(device))")

print("  loss.backward()")

print("  optimizer.step()")

A.3  chest_xray_mc_dropout.py

Runs T=30 stochastic forward passes per training sample. Computes predictive variance (uncertainty score U(xi)) for each sample and saves to CSV.

chest_xray_mc_dropout.py  —  MC Dropout uncertainty estimation (T=30 passes)

"""

Monte Carlo Dropout — Uncertainty Estimation

============================================

Implements MC Dropout inference for the ChestXRayClassifier.

Theory

------

Standard dropout is disabled at test time (model.eval()).

MC Dropout deliberately KEEPS dropout active during inference and runs

T stochastic forward passes per sample.  Each pass samples a different

random sub-network, producing a slightly different prediction.

Across T passes for sample x:

p_t = softmax(f_θ_t(x))         ← probability vector for pass t

Aggregate:

mean_prob  = (1/T) Σ p_t         ← mean predicted probability  (shape: C,)

variance   = (1/T) Σ (p_t - mean_prob)²   ← uncertainty score  (shape: C,)

pred_class = argmax(mean_prob)

confidence = max(mean_prob)

entropy    = -Σ mean_prob * log(mean_prob) ← alternative scalar uncertainty

High variance / high entropy → model is UNCERTAIN about this sample.

Low variance / low entropy  → model is CONFIDENT.

Configuration

-------------

T (forward passes) : 30

Device             : CUDA if available, else CPU

Integration

-----------

from chest_xray_mc_dropout import mc_dropout_predict, MCDropoutPredictor

"""

import pathlib

from dataclasses import dataclass, field

import numpy as np

import torch

import torch.nn as nn

import torch.nn.functional as F

from torch.utils.data import DataLoader

# ── Our modules ───────────────────────────────────────────────────────────────

from chest_xray_pipeline import (

DATASET_ROOT,

BATCH_SIZE,

collect_all_samples,

stratified_split,

build_dataloaders,

)

from chest_xray_model import build_model, ChestXRayClassifier

# ─────────────────────────────────────────────

# Configuration

# ─────────────────────────────────────────────

MC_PASSES   = 30        # number of stochastic forward passes  T

SAVE_PATH   = pathlib.Path(

r"C:\Users\abhay\OneDrive\Documents\DATA REFINEMENT RESEARCH\best_model.pth"

)

CLASS_NAMES = ["NORMAL", "PNEUMONIA"]

EPS         = 1e-8      # numerical stability for entropy

# ─────────────────────────────────────────────

# 1.  Activate dropout at inference time

# ─────────────────────────────────────────────

def enable_mc_dropout(model: nn.Module) -> None:

"""

Switch the model into MC Dropout inference mode:

• model.eval()  — freezes BatchNorm running statistics (desired)

• Then re-enables every Dropout layer by setting training=True

This is the standard MC Dropout recipe:

BatchNorm behaves deterministically (eval mode)

Dropout   behaves stochastically   (train mode)

Parameters

----------

model : any nn.Module containing Dropout layers

"""

model.eval()                          # freeze BN stats globally

for module in model.modules():

if isinstance(module, (nn.Dropout, nn.Dropout2d, nn.Dropout3d)):

module.train()               # re-enable stochastic masking

# ─────────────────────────────────────────────

# 2.  Result dataclass

# ─────────────────────────────────────────────

@dataclass

class MCDropoutResult:

"""

Container for Monte Carlo Dropout results for a batch / dataset.

Attributes

----------

mean_probs   : np.ndarray  shape (N, C)

Mean softmax probability across T passes.

High value for class c → model leans toward class c.

variance     : np.ndarray  shape (N, C)

Variance of softmax probabilities across T passes.

High value → model is uncertain about that class.

entropy      : np.ndarray  shape (N,)

Predictive entropy: H = -Σ p * log(p)

Single scalar uncertainty per sample.

Range [0, log(C)].  Higher = more uncertain.

pred_classes : np.ndarray  shape (N,)

argmax(mean_probs) — final predicted class label.

confidence   : np.ndarray  shape (N,)

max(mean_probs) — probability assigned to the predicted class.

High confidence + low variance = reliable prediction.

true_labels  : np.ndarray  shape (N,) or None

Ground-truth labels if available.

all_passes   : np.ndarray  shape (T, N, C)

Raw softmax probabilities from every forward pass.

Useful for custom downstream analysis.

"""

mean_probs   : np.ndarray

variance     : np.ndarray

entropy      : np.ndarray

pred_classes : np.ndarray

confidence   : np.ndarray

true_labels  : np.ndarray | None = None

all_passes   : np.ndarray | None = None

# ─────────────────────────────────────────────

# 3.  Core MC Dropout inference function

# ─────────────────────────────────────────────

@torch.no_grad()

def mc_dropout_predict(

model:       ChestXRayClassifier,

loader:      DataLoader,

device:      torch.device,

n_passes:    int  = MC_PASSES,

store_passes: bool = False,

) -> MCDropoutResult:

"""

Run Monte Carlo Dropout inference over a DataLoader.

For every batch:

For t in 1..T:

logits_t = model(images)     # stochastic (dropout active)

probs_t  = softmax(logits_t)

mean_prob = mean over T passes

variance  = var  over T passes

entropy   = -sum(mean_prob * log(mean_prob))

Parameters

----------

model        : trained ChestXRayClassifier (with best weights loaded)

loader       : DataLoader (any split — typically test set)

device       : torch device

n_passes     : number of stochastic forward passes  (default 30)

store_passes : if True, store all T raw probability matrices

(memory-intensive for large datasets)

Returns

-------

MCDropoutResult

"""

enable_mc_dropout(model)   # BN frozen, Dropout active

all_mean_probs   = []

all_variances    = []

all_entropies    = []

all_preds        = []

all_confidences  = []

all_true_labels  = []

all_pass_storage = []   # only filled when store_passes=True

for images, labels in loader:

images = images.to(device, non_blocking=True)   # (B, 3, 224, 224)

B      = images.size(0)

# ── T stochastic forward passes ───────────────────────────────────

pass_probs = torch.zeros(n_passes, B, len(CLASS_NAMES), device=device)

for t in range(n_passes):

logits          = model(images)              # (B, C) — stochastic

probs           = F.softmax(logits, dim=1)  # (B, C) in [0,1]

pass_probs[t]   = probs                     # store pass t

# ── Aggregate across passes  shape: (B, C) ────────────────────────

mean_probs = pass_probs.mean(dim=0)             # E[p]

variance   = pass_probs.var(dim=0)              # Var[p]  (unbiased)

# ── Predictive entropy  (scalar per sample) ───────────────────────

entropy = -(mean_probs * (mean_probs + EPS).log()).sum(dim=1)  # (B,)

# ── Predicted class and confidence ────────────────────────────────

pred_classes = mean_probs.argmax(dim=1)         # (B,)

confidence   = mean_probs.max(dim=1).values     # (B,)

# ── Move to CPU and collect ───────────────────────────────────────

all_mean_probs.append(mean_probs.cpu().numpy())

all_variances.append(variance.cpu().numpy())

all_entropies.append(entropy.cpu().numpy())

all_preds.append(pred_classes.cpu().numpy())

all_confidences.append(confidence.cpu().numpy())

all_true_labels.append(labels.numpy())

if store_passes:

all_pass_storage.append(pass_probs.cpu().numpy())  # (T, B, C)

# ── Concatenate all batches ───────────────────────────────────────────

mean_probs_out  = np.concatenate(all_mean_probs,  axis=0)  # (N, C)

variance_out    = np.concatenate(all_variances,   axis=0)  # (N, C)

entropy_out     = np.concatenate(all_entropies,   axis=0)  # (N,)

preds_out       = np.concatenate(all_preds,       axis=0)  # (N,)

confidence_out  = np.concatenate(all_confidences, axis=0)  # (N,)

true_labels_out = np.concatenate(all_true_labels, axis=0)  # (N,)

passes_out = None

if store_passes:

# Stack: list of (T, B, C) → concatenate along sample axis → (T, N, C)

passes_out = np.concatenate(all_pass_storage, axis=1)

return MCDropoutResult(

mean_probs   = mean_probs_out,

variance     = variance_out,

entropy      = entropy_out,

pred_classes = preds_out,

confidence   = confidence_out,

true_labels  = true_labels_out,

all_passes   = passes_out,

)

# ─────────────────────────────────────────────

# 4.  Reporting helpers

# ─────────────────────────────────────────────

def print_uncertainty_report(result: MCDropoutResult, n_samples: int = 10):

"""

Print a summary of the MC Dropout uncertainty estimation results.

Parameters

----------

result    : MCDropoutResult from mc_dropout_predict()

n_samples : number of example samples to display in detail table

"""

N = len(result.pred_classes)

# ── Overall statistics ─────────────────────────────────────────────

print()

print("╔" + "═" * 60 + "╗")

print("║   Monte Carlo Dropout — Uncertainty Report            ║")

print("╠" + "═" * 60 + "╣")

print(f"║  Samples evaluated : {N:>6,}                               ║")

print(f"║  Forward passes (T): {MC_PASSES:>6}                               ║")

print("╠" + "═" * 60 + "╣")

# Mean probability stats

print(f"║  Mean Probability  (avg across samples & classes)        ║")

print(f"║    Mean  : {result.mean_probs.mean():.4f}                                    ║")

print(f"║    Std   : {result.mean_probs.std():.4f}                                    ║")

print("╠" + "─" * 60 + "╣")

# Variance (uncertainty) stats

print(f"║  Variance / Uncertainty (avg across samples & classes)   ║")

print(f"║    Mean  : {result.variance.mean():.6f}                                  ║")

print(f"║    Max   : {result.variance.max():.6f}                                  ║")

print(f"║    Min   : {result.variance.min():.6f}                                  ║")

print("╠" + "─" * 60 + "╣")

# Entropy stats

print(f"║  Predictive Entropy (per sample)                         ║")

print(f"║    Mean  : {result.entropy.mean():.4f}                                    ║")

print(f"║    Max   : {result.entropy.max():.4f}  ← most uncertain sample        ║")

print(f"║    Min   : {result.entropy.min():.4f}  ← most confident sample        ║")

print("╠" + "═" * 60 + "╣")

# Confidence stats

avg_conf  = result.confidence.mean() * 100

high_conf = (result.confidence >= 0.90).sum()

low_conf  = (result.confidence <  0.60).sum()

print(f"║  Confidence (max mean prob per sample)                   ║")

print(f"║    Avg confidence      : {avg_conf:>6.2f}%                         ║")

print(f"║    High conf (≥90%)    : {high_conf:>6,} samples                   ║")

print(f"║    Low  conf (< 60%)   : {low_conf:>6,} samples  ← uncertain       ║")

print("╚" + "═" * 60 + "╝")

# ── Per-sample detail table (top n_samples most uncertain) ─────────────

print(f"\n  Top-{n_samples} most uncertain samples (highest entropy):")

print("  " + "─" * 70)

print(

f"  {'Idx':>6}  {'True':>10}  {'Pred':>10}  "

f"{'MeanProb[P]':>11}  {'Variance[P]':>11}  {'Entropy':>8}"

)

print("  " + "─" * 70)

top_k_idx = np.argsort(result.entropy)[::-1][:n_samples]

for idx in top_k_idx:

true_cls = CLASS_NAMES[result.true_labels[idx]] if result.true_labels is not None else "N/A"

pred_cls = CLASS_NAMES[result.pred_classes[idx]]

mp       = result.mean_probs[idx, 1]    # P(PNEUMONIA)

vr       = result.variance[idx, 1]      # Var for PNEUMONIA

ent      = result.entropy[idx]

match    = "✓" if result.true_labels is not None and result.true_labels[idx] == result.pred_classes[idx] else "✗"

print(

f"  {idx:>6}  {true_cls:>10}  {pred_cls:>10}  "

f"{mp:>11.4f}  {vr:>11.6f}  {ent:>8.4f}  {match}"

)

print()

def load_best_model(save_path: pathlib.Path, device: torch.device) -> ChestXRayClassifier:

"""Load best weights from disk into a fresh model instance."""

model, _ = build_model(pretrained=False)

state    = torch.load(save_path, map_location=device, weights_only=True)

model.load_state_dict(state)

model.to(device)

print(f"  ✓ Loaded weights from: {save_path}")

return model

# ─────────────────────────────────────────────

# 5.  MC Dropout Predictor class (convenience wrapper)

# ─────────────────────────────────────────────

class MCDropoutPredictor:

"""

High-level wrapper around mc_dropout_predict().

Usage

-----

predictor = MCDropoutPredictor.from_checkpoint(SAVE_PATH)

result    = predictor.predict(test_loader)

predictor.report(result)

"""

def __init__(self, model: ChestXRayClassifier, device: torch.device, n_passes: int = MC_PASSES):

self.model    = model

self.device   = device

self.n_passes = n_passes

@classmethod

def from_checkpoint(

cls,

save_path: pathlib.Path = SAVE_PATH,

n_passes:  int          = MC_PASSES,

) -> "MCDropoutPredictor":

"""Build predictor directly from a saved checkpoint file."""

device = torch.device("cuda" if torch.cuda.is_available() else "cpu")

model  = load_best_model(save_path, device)

return cls(model, device, n_passes)

def predict(

self,

loader:       DataLoader,

store_passes: bool = False,

) -> MCDropoutResult:

"""Run MC Dropout inference. Returns MCDropoutResult."""

return mc_dropout_predict(

model        = self.model,

loader       = loader,

device       = self.device,

n_passes     = self.n_passes,

store_passes = store_passes,

)

def report(self, result: MCDropoutResult, n_samples: int = 10):

"""Pretty-print uncertainty report."""

print_uncertainty_report(result, n_samples=n_samples)

# ─────────────────────────────────────────────

# 6.  Entry point / standalone demo

# ─────────────────────────────────────────────

def main():

print("=" * 62)

print("  Monte Carlo Dropout — Inference & Uncertainty Estimation")

print("=" * 62)

# ── Load data (test split only needed for evaluation) ────────────────

print("\n[1/4] Loading dataset splits …")

all_paths, all_labels = collect_all_samples(DATASET_ROOT)

(train_paths, train_labels,

val_paths,   val_labels,

test_paths,  test_labels) = stratified_split(all_paths, all_labels)

_, _, test_loader = build_dataloaders(

train_paths, train_labels,

val_paths,   val_labels,

test_paths,  test_labels,

batch_size=BATCH_SIZE,

)

print(f"  Test set size : {len(test_paths):,} images")

# ── Load model ────────────────────────────────────────────────────────

print("\n[2/4] Loading best model from checkpoint …")

device = torch.device("cuda" if torch.cuda.is_available() else "cpu")

print(f"  Device : {device}")

model  = load_best_model(SAVE_PATH, device)

# ── Run MC Dropout inference ──────────────────────────────────────────

print(f"\n[3/4] Running MC Dropout  ({MC_PASSES} passes × {len(test_paths):,} samples) …")

result = mc_dropout_predict(

model        = model,

loader       = test_loader,

device       = device,

n_passes     = MC_PASSES,

store_passes = True,    # keep all passes for demo

)

print(f"  mean_probs  shape : {result.mean_probs.shape}")

print(f"  variance    shape : {result.variance.shape}")

print(f"  entropy     shape : {result.entropy.shape}")

print(f"  all_passes  shape : {result.all_passes.shape}")

# ── Print report ──────────────────────────────────────────────────────

print("\n[4/4] Uncertainty Report")

print_uncertainty_report(result, n_samples=10)

# ── Quick accuracy check ──────────────────────────────────────────────

if result.true_labels is not None:

acc = (result.pred_classes == result.true_labels).mean() * 100

print(f"  MC Dropout Test Accuracy : {acc:.2f}%")

print(f"  (Using argmax of mean probability across {MC_PASSES} passes)")

return result

if __name__ == "__main__":

result = main()

A.4  chest_xray_cleaning.py

Hard cleaning removes top-k% highest-uncertainty samples. Soft cleaning down-weights uncertain samples in the loss function using per-sample quality weights.

chest_xray_cleaning.py  —  Hard removal and confidence-weighted soft cleaning

"""

Dataset Cleaning — Remove Flagged Suspicious Samples

=====================================================

Takes the flagged indices produced by chest_xray_error_detection.py

and filters them out of the training set, producing a clean dataset.

Pipeline

--------

1. Collect all images → stratified 70/15/15 split

2. Inject 20% label noise (reproduces exact noisy training set)

3. Run MC Dropout → detect suspicious samples

4. Remove flagged indices from train paths & labels

5. Build a fresh cleaned DataLoader (val & test untouched)

Outputs

-------

• Cleaned DataLoader  (ready to plug into chest_xray_train.py)

• Printed comparison: Original vs Cleaned dataset size

• Per-class breakdown before and after cleaning

• Overlap report: how many true noise samples were removed

"""

import pathlib

from dataclasses import dataclass

import numpy as np

import torch

from torch.utils.data import DataLoader

# ── Our modules ───────────────────────────────────────────────────────────────

from chest_xray_pipeline import (

DATASET_ROOT,

BATCH_SIZE,

collect_all_samples,

stratified_split,

build_dataloaders,

ChestXRayDataset,

get_transform,

)

from chest_xray_noise import (

build_noisy_dataloaders,

inject_label_noise,

NOISE_RATE,

)

from chest_xray_mc_dropout import mc_dropout_predict

from chest_xray_error_detection import (

detect_errors,

load_best_model,

FlaggedSample,

UNCERTAINTY_THRESH,

CONFIDENCE_THRESH,

MC_PASSES,

SAVE_PATH,

CLASS_NAMES,

)

# ─────────────────────────────────────────────

# Configuration

# ─────────────────────────────────────────────

RANDOM_SEED = 42

# ─────────────────────────────────────────────

# 1.  Core cleaning function

# ─────────────────────────────────────────────

def clean_training_set(

train_paths:  list,

train_labels: list[int],

flagged:      list[FlaggedSample],

) -> tuple[list, list[int], list[int]]:

"""

Remove flagged sample indices from the training set.

Parameters

----------

train_paths   : list of pathlib.Path — all training image paths

train_labels  : list of int          — corresponding labels (may be noisy)

flagged       : list of FlaggedSample from detect_errors()

Returns

-------

clean_paths   : filtered image paths  (flagged indices removed)

clean_labels  : filtered labels       (flagged indices removed)

removed_idx   : sorted list of removed indices for audit trail

"""

# Collect the indices to drop as a set for O(1) lookup

flagged_set = {s.index for s in flagged}

removed_idx = sorted(flagged_set)

clean_paths  = []

clean_labels = []

for i, (path, label) in enumerate(zip(train_paths, train_labels)):

if i not in flagged_set:

clean_paths.append(path)

clean_labels.append(label)

return clean_paths, clean_labels, removed_idx

# ─────────────────────────────────────────────

# 2.  Build cleaned DataLoader

# ─────────────────────────────────────────────

def build_cleaned_dataloaders(

clean_paths:  list,

clean_labels: list[int],

val_paths:    list,

val_labels:   list[int],

test_paths:   list,

test_labels:  list[int],

batch_size:   int = BATCH_SIZE,

num_workers:  int = 0,

) -> tuple[DataLoader, DataLoader, DataLoader]:

"""

Wrap cleaned training data plus unchanged val/test into DataLoaders.

Parameters

----------

clean_paths / clean_labels : output of clean_training_set()

val_paths / val_labels     : original validation split (UNCHANGED)

test_paths / test_labels   : original test split       (UNCHANGED)

Returns

-------

clean_train_loader : DataLoader  — shuffled, no suspicious samples

val_loader         : DataLoader  — unchanged

test_loader        : DataLoader  — unchanged

"""

train_transform = get_transform(augment=True)

eval_transform  = get_transform(augment=False)

clean_train_dataset = ChestXRayDataset(clean_paths,  clean_labels,  train_transform)

val_dataset         = ChestXRayDataset(val_paths,    val_labels,    eval_transform)

test_dataset        = ChestXRayDataset(test_paths,   test_labels,   eval_transform)

pin = torch.cuda.is_available()

clean_train_loader = DataLoader(

clean_train_dataset,

batch_size  = batch_size,

shuffle     = True,           # shuffle only training set

num_workers = num_workers,

pin_memory  = pin,

)

val_loader = DataLoader(

val_dataset,

batch_size  = batch_size,

shuffle     = False,

num_workers = num_workers,

pin_memory  = pin,

)

test_loader = DataLoader(

test_dataset,

batch_size  = batch_size,

shuffle     = False,

num_workers = num_workers,

pin_memory  = pin,

)

return clean_train_loader, val_loader, test_loader

# ─────────────────────────────────────────────

# 3.  Reporting

# ─────────────────────────────────────────────

def _class_distribution(labels: list[int]) -> dict[str, int]:

dist = {cls: 0 for cls in CLASS_NAMES}

for lbl in labels:

dist[CLASS_NAMES[lbl]] += 1

return dist

def print_cleaning_report(

original_paths:      list,

original_labels:     list[int],

clean_paths:         list,

clean_labels:        list[int],

removed_idx:         list[int],

flagged:             list[FlaggedSample],

known_noisy_indices: set | None = None,

):

"""

Print a detailed before/after comparison for the dataset cleaning step.

"""

orig_total    = len(original_paths)

clean_total   = len(clean_paths)

n_removed     = orig_total - clean_total

orig_dist  = _class_distribution(original_labels)

clean_dist = _class_distribution(clean_labels)

# ── Summary box ───────────────────────────────────────────────────────

print()

print("╔" + "═" * 60 + "╗")

print("║   Dataset Cleaning Report                               ║")

print("╠" + "═" * 60 + "╣")

# Size comparison

print(f"║  {'Metric':<30} {'Before':>9} {'After':>9}     ║")

print("╠" + "─" * 60 + "╣")

print(f"║  {'Total training samples':<30} "

f"{orig_total:>9,} {clean_total:>9,}     ║")

for cls in CLASS_NAMES:

print(f"║  {'  ' + cls:<30} "

f"{orig_dist[cls]:>9,} {clean_dist[cls]:>9,}     ║")

print("╠" + "─" * 60 + "╣")

print(f"║  Samples removed          : {n_removed:>7,}  "

f"({n_removed/orig_total*100:.2f}% of original)   ║")

# Criterion breakdown for removed samples

crit_a = sum(1 for s in flagged if s.criterion_a)

crit_b = sum(1 for s in flagged if s.criterion_b)

both   = sum(1 for s in flagged if s.criterion_a and s.criterion_b)

print(f"║    ├─ Criterion A only (uncertainty)  : {crit_a - both:>6,}              ║")

print(f"║    ├─ Criterion B only (conf mismatch): {crit_b - both:>6,}              ║")

print(f"║    └─ Both criteria                   : {both:>6,}              ║")

print("╠" + "─" * 60 + "╣")

# Class balance after cleaning

clean_pct_normal    = clean_dist["NORMAL"]    / clean_total * 100 if clean_total else 0

clean_pct_pneumonia = clean_dist["PNEUMONIA"] / clean_total * 100 if clean_total else 0

print(f"║  Class balance after cleaning:                          ║")

print(f"║    NORMAL    : {clean_dist['NORMAL']:>7,}  ({clean_pct_normal:>5.1f}%)                ║")

print(f"║    PNEUMONIA : {clean_dist['PNEUMONIA']:>7,}  ({clean_pct_pneumonia:>5.1f}%)                ║")

print("╠" + "═" * 60 + "╣")

# Noise recovery (if ground-truth noisy indices known)

if known_noisy_indices:

removed_set    = set(removed_idx)

true_removed   = removed_set & known_noisy_indices    # noise correctly removed

false_removed  = removed_set - known_noisy_indices    # clean samples wrongly removed

missed_noise   = known_noisy_indices - removed_set    # noise NOT caught

precision = len(true_removed) / len(removed_set) * 100 if removed_set else 0

recall    = len(true_removed) / len(known_noisy_indices) * 100

print("║   Noise Recovery Analysis                               ║")

print("╠" + "─" * 60 + "╣")

print(f"║  Total injected noise    : {len(known_noisy_indices):>7,}                    ║")

print(f"║  Noise correctly removed : {len(true_removed):>7,}  (True  Positives)    ║")

print(f"║  Clean samples removed   : {len(false_removed):>7,}  (False Positives)    ║")

print(f"║  Noise still in dataset  : {len(missed_noise):>7,}  (False Negatives)    ║")

print(f"║  Cleaning Precision      : {precision:>7.2f}%                    ║")

print(f"║  Cleaning Recall         : {recall:>7.2f}%                    ║")

print("╚" + "═" * 60 + "╝")

else:

print("╚" + "═" * 60 + "╝")

# ── DataLoader summary ────────────────────────────────────────────────

print()

print("  DataLoaders ready:")

print(f"  clean_train_loader → {clean_total:,} samples  "

f"({-(-clean_total // BATCH_SIZE)} batches, batch={BATCH_SIZE}, shuffle=True)")

print("  val_loader         → unchanged")

print("  test_loader        → unchanged")

print()

# ─────────────────────────────────────────────

# 4.  Full cleaning pipeline

# ─────────────────────────────────────────────

def run_dataset_cleaning(

uncertainty_thresh : float = UNCERTAINTY_THRESH,

confidence_thresh  : float = CONFIDENCE_THRESH,

noise_rate         : float = NOISE_RATE,

n_passes           : int   = MC_PASSES,

batch_size         : int   = BATCH_SIZE,

) -> tuple[DataLoader, DataLoader, DataLoader, list[int]]:

"""

End-to-end dataset cleaning pipeline.

Steps

-----

1. Load dataset → 70/15/15 stratified split

2. Inject 20% label noise into training set

3. Load trained model checkpoint

4. Run MC Dropout on noisy training set → compute per-sample metrics

5. Detect suspicious samples via flagging criteria

6. Remove flagged samples → produce clean training paths + labels

7. Build cleaned DataLoaders

8. Print before/after comparison

Returns

-------

clean_train_loader : DataLoader  — cleaned training set

val_loader         : DataLoader  — unchanged validation set

test_loader        : DataLoader  — unchanged test set

removed_indices    : list[int]   — sorted list of removed sample indices

"""

print("=" * 62)

print("  Dataset Cleaning Pipeline — Chest X-Ray")

print("=" * 62)

# ── Step 1: Load & split ──────────────────────────────────────────────

print("\n[1/6] Loading dataset and splitting 70/15/15 …")

all_paths, all_labels = collect_all_samples(DATASET_ROOT)

(train_paths, train_labels,

val_paths,   val_labels,

test_paths,  test_labels) = stratified_split(all_paths, all_labels)

print(f"  Train : {len(train_paths):,}  |  "

f"Val : {len(val_paths):,}  |  "

f"Test : {len(test_paths):,}")

# ── Step 2: Inject noise ──────────────────────────────────────────────

print(f"\n[2/6] Injecting {noise_rate*100:.0f}% label noise into training set …")

noisy_labels, noisy_indices = inject_label_noise(

train_labels, noise_rate=noise_rate, seed=RANDOM_SEED

)

known_noisy_set = set(noisy_indices)

print(f"  Noise injected into {len(noisy_indices):,} samples.")

# Build noisy DataLoader for MC Dropout pass

(noisy_train_loader, val_loader, test_loader, _, _) = build_noisy_dataloaders(

train_paths, train_labels,

val_paths,   val_labels,

test_paths,  test_labels,

noise_rate  = noise_rate,

batch_size  = batch_size,

seed        = RANDOM_SEED,

)

# ── Step 3: Load model ────────────────────────────────────────────────

print("\n[3/6] Loading model checkpoint …")

device = torch.device("cuda" if torch.cuda.is_available() else "cpu")

print(f"  Device : {device}")

model = load_best_model(SAVE_PATH, device)

# ── Step 4: MC Dropout on noisy training set ──────────────────────────

print(f"\n[4/6] Running{n_passes} MC Dropout passes on training set …")

mc_result = mc_dropout_predict(

model    = model,

loader   = noisy_train_loader,

device   = device,

n_passes = n_passes,

)

print(f"  Inference complete — {len(train_paths):,} samples processed.")

# ── Step 5: Detect suspicious samples ────────────────────────────────

print("\n[5/6] Detecting suspicious samples …")

flagged = detect_errors(

mc_result            = mc_result,

uncertainty_thresh   = uncertainty_thresh,

confidence_thresh    = confidence_thresh,

known_noisy_indices  = known_noisy_set,

)

print(f"  Flagged : {len(flagged):,} suspicious samples out of {len(train_paths):,}.")

# ── Step 6: Clean the training set ───────────────────────────────────

print("\n[6/6] Removing flagged samples from training set …")

# Use noisy_labels (post-injection) as the "original" so the report

# reflects what the model actually sees before cleaning

noisy_labels_list = noisy_labels if isinstance(noisy_labels, list) else noisy_labels.tolist()

clean_paths, clean_labels, removed_idx = clean_training_set(

train_paths   = train_paths,

train_labels  = noisy_labels_list,

flagged       = flagged,

)

# ── Build cleaned DataLoaders ─────────────────────────────────────────

clean_train_loader, val_loader, test_loader = build_cleaned_dataloaders(

clean_paths   = clean_paths,

clean_labels  = clean_labels,

val_paths     = val_paths,

val_labels    = val_labels,

test_paths    = test_paths,

test_labels   = test_labels,

batch_size    = batch_size,

)

# ── Print comparison report ───────────────────────────────────────────

print_cleaning_report(

original_paths      = train_paths,

original_labels     = noisy_labels_list,

clean_paths         = clean_paths,

clean_labels        = clean_labels,

removed_idx         = removed_idx,

flagged             = flagged,

known_noisy_indices = known_noisy_set,

)

return clean_train_loader, val_loader, test_loader, removed_idx

# ─────────────────────────────────────────────

# 5.  Entry point

# ─────────────────────────────────────────────

if __name__ == "__main__":

clean_train_loader, val_loader, test_loader, removed_indices = run_dataset_cleaning()

# ── Verify cleaned batch ──────────────────────────────────────────────

print("  Sanity check — first batch from clean_train_loader:")

images, labels = next(iter(clean_train_loader))

print(f"    Image tensor shape : {tuple(images.shape)}")

print(f"    Labels             : {labels.tolist()[:16]} …")

print(f"    Pixel range        : [{images.min():.3f}, {images.max():.3f}]")

print(f"\n  Removed indices (first 20): {removed_indices[:20]}")

print(f"  Total removed            : {len(removed_indices):,}")

A.5  chest_xray_evaluate.py

Evaluates trained model on held-out test set. Computes F1, AUC-ROC, Precision, Recall, and confusion matrix. Saves all metrics to JSON.

chest_xray_evaluate.py  —  Test-set evaluation: F1, AUC, Precision, Recall

"""

Chest X-Ray Pneumonia Classifier — Full Train + Evaluation Pipeline

====================================================================

Runs end-to-end:

1. Train model (with per-epoch train/val logging)

2. Load best saved weights automatically

3. Evaluate on held-out test set

Metrics reported (test set)

----------------------------

• Accuracy

• Precision  (macro & per-class)

• Recall     (macro & per-class)

• F1-score   (macro & per-class)

• Confusion matrix

Dependencies

------------

pip install torch torchvision scikit-learn pillow

"""

import pathlib

import torch

import numpy as np

from sklearn.metrics import (

accuracy_score,

precision_score,

recall_score,

f1_score,

confusion_matrix,

classification_report,

)

# ── Our modules ───────────────────────────────────────────────────────────────

from chest_xray_pipeline import (

DATASET_ROOT,

BATCH_SIZE,

collect_all_samples,

stratified_split,

build_dataloaders,

)

from chest_xray_model import build_model, ChestXRayClassifier

from chest_xray_train import (

train,

SAVE_PATH,

NUM_EPOCHS,

LEARNING_RATE,

)

# ─────────────────────────────────────────────

# Label names (index → human-readable)

# ─────────────────────────────────────────────

CLASS_NAMES = ["NORMAL", "PNEUMONIA"]   # index 0 → NORMAL, 1 → PNEUMONIA

# ─────────────────────────────────────────────

# 1.  Inference — collect ALL predictions at once

# ─────────────────────────────────────────────

@torch.no_grad()

def run_inference(

model:  ChestXRayClassifier,

loader: torch.utils.data.DataLoader,

device: torch.device,

) -> tuple[np.ndarray, np.ndarray, np.ndarray]:

"""

Pass the full dataloader through the model.

Returns

-------

all_preds  : (N,) int numpy array — argmax class indices

all_probs  : (N, C) float numpy array — softmax probabilities

all_labels : (N,) int numpy array — ground-truth labels

"""

model.eval()

all_preds  = []

all_probs  = []

all_labels = []

for images, labels in loader:

images = images.to(device, non_blocking=True)

logits = model(images)                          # (B, 2)

probs  = torch.softmax(logits, dim=1)           # (B, 2) in [0,1]

preds  = logits.argmax(dim=1)                   # (B,)

all_preds.append(preds.cpu().numpy())

all_probs.append(probs.cpu().numpy())

all_labels.append(labels.numpy())

all_preds  = np.concatenate(all_preds,  axis=0)

all_probs  = np.concatenate(all_probs,  axis=0)

all_labels = np.concatenate(all_labels, axis=0)

return all_preds, all_probs, all_labels

# ─────────────────────────────────────────────

# 2.  Metrics computation

# ─────────────────────────────────────────────

def compute_metrics(

y_true: np.ndarray,

y_pred: np.ndarray,

) -> dict:

"""

Compute Accuracy, Precision, Recall, F1 (macro + per-class)

and the raw confusion matrix.

Parameters

----------

y_true : ground-truth integer labels, shape (N,)

y_pred : predicted integer labels,    shape (N,)

Returns

-------

dict with all metric values

"""

acc = accuracy_score(y_true, y_pred)

# Macro averages (unweighted mean across classes)

prec_macro = precision_score(y_true, y_pred, average="macro", zero_division=0)

rec_macro  = recall_score(   y_true, y_pred, average="macro", zero_division=0)

f1_macro   = f1_score(       y_true, y_pred, average="macro", zero_division=0)

# Per-class values (one score per class)

prec_per   = precision_score(y_true, y_pred, average=None, zero_division=0)

rec_per    = recall_score(   y_true, y_pred, average=None, zero_division=0)

f1_per     = f1_score(       y_true, y_pred, average=None, zero_division=0)

cm = confusion_matrix(y_true, y_pred)

return dict(

accuracy       = acc,

precision_macro= prec_macro,

recall_macro   = rec_macro,

f1_macro       = f1_macro,

precision_per  = prec_per,   # shape (num_classes,)

recall_per     = rec_per,

f1_per         = f1_per,

confusion_matrix = cm,

)

# ─────────────────────────────────────────────

# 3.  Pretty-print metrics

# ─────────────────────────────────────────────

def print_metrics(metrics: dict, split_name: str = "TEST"):

"""Render a clean, structured metrics report."""

cm = metrics["confusion_matrix"]

tn, fp, fn, tp = cm.ravel()           # binary classification

print()

print("╔" + "═" * 52 + "╗")

print(f"║  {split_name} SET — Evaluation Results" + " " * (22 - len(split_name)) + "║")

print("╠" + "═" * 52 + "╣")

# ── Overall ───────────────────────────────────────────────────────────

print(f"║  {'Accuracy':<22} : {metrics['accuracy']*100:>7.2f}%               ║")

print("╠" + "═" * 52 + "╣")

# ── Macro averages ────────────────────────────────────────────────────

print(f"║  {'Metric':<22}   {'Macro Avg':>10}               ║")

print("╠" + "─" * 52 + "╣")

print(f"║  {'Precision':<22} : {metrics['precision_macro']*100:>7.2f}%               ║")

print(f"║  {'Recall':<22} : {metrics['recall_macro']*100:>7.2f}%               ║")

print(f"║  {'F1-Score':<22} : {metrics['f1_macro']*100:>7.2f}%               ║")

print("╠" + "═" * 52 + "╣")

# ── Per-class ─────────────────────────────────────────────────────────

print(f"║  {'Class':<12} {'Precision':>9} {'Recall':>8} {'F1':>8}       ║")

print("╠" + "─" * 52 + "╣")

for i, cls in enumerate(CLASS_NAMES):

p = metrics["precision_per"][i] * 100

r = metrics["recall_per"][i]    * 100

f = metrics["f1_per"][i]        * 100

print(f"║  {cls:<12} {p:>8.2f}% {r:>7.2f}% {f:>7.2f}%       ║")

print("╠" + "═" * 52 + "╣")

# ── Confusion matrix ──────────────────────────────────────────────────

print("║  Confusion Matrix:                                 ║")

print("║                                                    ║")

print("║         Pred: NORMAL   Pred: PNEUMONIA             ║")

print(f"║  True: NORMAL    {tn:>6}           {fp:>6}             ║")

print(f"║  True: PNEUMONIA {fn:>6}           {tp:>6}             ║")

print("║                                                    ║")

print(f"║  TN={tn}  FP={fp}  FN={fn}  TP={tp}" +

" " * (33 - len(f"TN={tn}  FP={fp}  FN={fn}  TP={tp}")) + "║")

print("╚" + "═" * 52 + "╝")

# ── sklearn detailed report ───────────────────────────────────────────

print()

print("  Full Classification Report (sklearn)")

print("  " + "─" * 48)

def print_sklearn_report(y_true, y_pred):

"""Print sklearn's classification_report for completeness."""

report = classification_report(

y_true, y_pred,

target_names=CLASS_NAMES,

digits=4,

)

for line in report.splitlines():

print(f"  {line}")

# ─────────────────────────────────────────────

# 4.  Load best weights helper

# ─────────────────────────────────────────────

def load_best_model(

save_path: pathlib.Path,

device:    torch.device,

) -> ChestXRayClassifier:

"""

Instantiate a fresh model and load the best saved weights from disk.

Parameters

----------

save_path : path to best_model.pth

device    : torch device to load onto

Returns

-------

model with best weights, in eval mode

"""

model, _ = build_model(pretrained=False)   # architecture only

state    = torch.load(save_path, map_location=device, weights_only=True)

model.load_state_dict(state)

model.to(device)

model.eval()

print(f"  ✓ Best weights loaded from: {save_path}")

return model

# ─────────────────────────────────────────────

# 5.  Master routine

# ─────────────────────────────────────────────

def run_full_pipeline():

"""

Complete pipeline:

Step 1 → Train  (calls chest_xray_train.train())

Step 2 → best_model.pth written by EarlyStopping during training

Step 3 → Load best weights from disk

Step 4 → Evaluate on test set with all metrics

"""

# ── Step 1 & 2: Train (validation happens inside each epoch) ─────────

print("\n" + "=" * 58)

print("  PHASE 1 — Training")

print("=" * 58)

trained_model, epoch_logger = train(

num_epochs    = NUM_EPOCHS,

learning_rate = LEARNING_RATE,

batch_size    = BATCH_SIZE,

)

# ── Re-build data splits (same seed → same test set) ─────────────────

print("\n" + "=" * 58)

print("  PHASE 2 — Loading Best Weights + Test Evaluation")

print("=" * 58)

print("\n[1/3] Reconstructing dataset splits …")

all_paths, all_labels = collect_all_samples(DATASET_ROOT)

(train_paths, train_labels,

val_paths,   val_labels,

test_paths,  test_labels) = stratified_split(all_paths, all_labels)

_, _, test_loader = build_dataloaders(

train_paths, train_labels,

val_paths,   val_labels,

test_paths,  test_labels,

batch_size=BATCH_SIZE,

)

print(f"  Test set size : {len(test_paths):,} images")

# ── Step 3: Load best model ───────────────────────────────────────────

print("\n[2/3] Loading best model weights …")

device = torch.device("cuda" if torch.cuda.is_available() else "cpu")

best_model = load_best_model(SAVE_PATH, device)

# ── Step 4: Run inference on test set ────────────────────────────────

print("\n[3/3] Running inference on test set …")

preds, probs, true_labels = run_inference(best_model, test_loader, device)

# ── Compute & display metrics ─────────────────────────────────────────

metrics = compute_metrics(true_labels, preds)

print_metrics(metrics, split_name="TEST")

print_sklearn_report(true_labels, preds)

# ── Training history summary ──────────────────────────────────────────

best = epoch_logger.best_epoch()

print()

print("  Training Summary")

print("  " + "─" * 40)

print(f"  Best epoch      : {best['epoch']}")

print(f"  Best val loss   : {best['val_loss']:.4f}")

print(f"  Best val acc    : {best['val_acc']:.2f}%")

print(f"  Epochs run      : {len(epoch_logger.history)}")

print()

return metrics, preds, true_labels

# ─────────────────────────────────────────────

# 6.  Entry point

# ─────────────────────────────────────────────

if __name__ == "__main__":

metrics, predictions, ground_truth = run_full_pipeline